## SHELD
BILLS OF QUANTITIES FOR THE
CONSTRUCTION OF GUARDING SHELTER AT IPONGA HEALTH CENTRE
Item |  | Description | Quantity | Unit | Rate | MK t
Excavation and Earthwork
|  | Foundation trenches for strip footings | 147 | m3 | 800 |  | 117600
[6 empty] | 0 | 0
0
0
|  | Disposal of Water |  |  |  | 0
0
D |  | keep general excavation free from storm and surface water or any liquid for the duration of the contract by hand or machinery (provision sum) |  |  |  | 0
0
|  | Disposal of Excavated Material |  |  |  | 0
0
E |  | Selected earth filling deposit, spread and compacted | 53 | m3 | 800 | 42400 | 42400
0
F |  | surplus excavated material from excavations transported at a distance average 300 linear metres from excavations (provision sum) | 53 | m3 | 800 | 42400 | 42400
0
|  | Filling to Make up levels |  |  |  | 0
0
G |  | 50mm bed of sand on hardcore rolled to receive damp proof membrane | 94 |  | 800 | 75200 | 75200
0
H |  | Hardcore filling in making up levels, 150mm thick | 255 | m2 | 800 | 204000 | 204000
0
|  | Compaction of Surfaces |  |  |  | 0
0
J |  | Compaction of ground surface under floors etc with vibrating roller including scarifying for a depth of 150mm breaking down oversize material, additing suitable material where necessary and compacting to 98% Mod AASHTO density | 86 | m2 | 800 | 68800 | 68800
[5 empty] | To Collection | 432800 | 550400
SUBSTRUCTURE (ALL PROVISIONAL)
Item |  | Description | Quantity | Unit | Rate | MK t
Termite Treatment
A |  | Approved termite treatment applied over filling and top of foundation wall | 271 | m2 | 300 | 81300 | 81300
0
B |  | Ditto; bottom of excavated trenches | 271 | m2 | 300 | 81300 | 81300
0
|  | Damp Proofing |  |  |  | 0
0
C |  | One layer of 250 microns approved polythene black waterproof sheeting lapped 150mm and sealed with pressure sensitive tape and laid over filling | 255 | m2 | 2000 | 510000 | 510000
0
|  | Concrete Work |  |  |  | 0
0
0
|  | concrete slab 20N/MM2/40MM |  |  |  |  | 0
0
D |  | Strip footings | 25 | m3 | 5000 | 125000 | 125000
Plain concrete class 21/mm2/20mm .
0
E |  | 100mm Thick surface bed in bays of 25 - 30m2 include for formwork and bitumen coats between construction joints | 271 | m2 | 7500 | 2032500 | 2032500
0
|  | Reinforcement |  |  |  | 0
0
|  | Mild Steel Mesh Fabric Reinforcement |  |  |  | 0
0
F |  | steel fabric renforcement to B.S. 4483 REFA198 Weighning 1.54kgs per square metre | 271 | m2 | 3000 | 813000 | 813000
0
|  | Sawn Formwork |  |  |  | 0
0
G |  | Edge of surface bed, 75 - 150mm wide | 78 | m1 | 1800 | 140400 | 140400
0
|  | BLOCKWORK |  |  |  | 0
0
|  | precast holloe cement and sandblocks in cement morter 1:4 filled solid with concrete grade 15/40 |  |  |  | 0
0
H |  | 140mm thick walls | 200 | m2 | 15000 | 3000000 | 3000000
[5 empty] | To Collection | 6783500 | 6783500
ROOF
Item |  | Description | Quantity | Unit | Rate | MK t
Roof Coverings
26 gauge IBR galvanised roof sheets with drive screw fixed to softwood purlins
A |  | Roof coverings on purlins spaced at 1264mm centres | 288 | m2 | 10500 | 3024000 | 3024000
0
B |  | Ridge capping 600mm | 31 | m | 7500 | 232500 | 232500
[6 empty] | 0 | 0
C |  | serrated ridge clousure piece, fixed to timber | 62 | m | 2500 | 155000 | 155000
|  | Roof Construction / Carpentry |  |  |  | 0
0
|  | WOODEN ROOF |  |  |  | 0
0
0
D |  | 50 x 75mm Purlin angle iron | 168 | m | 1500 | 252000 | 252000
0
E |  | 50 x 75 mm struts | 200 | m | 1000 | 200000 | 200000
0
F |  | 50x150mm rafters | 65 | m | 2500 | 162500 | 162500
0
G |  | 50x150 mm ceilling joist | 150 | m | 1500 | 225000 | 225000
0
0
0
|  |  |  | no |  |  | 0
0
0
0
0
0
|  | pvc conduits | 20 | m | 9500 |  | 190000
|  | copper earthing plate 3x50 mm | 23 | m | 8500 |  | 195500
|  | cables 1.5mm red | 1 | m | 3500 |  | 3500
|  | cables 1.5mm black | 1 | no | 35000 |  | 35000
|  | cables 2.5mm red | 1 | no | 35000 |  | 35000
|  | cables 2.5mm black | 1 | no | 35000 |  | 35000
|  | cables 2.5mm green | 1 | no | 35000 |  | 35000
[5 empty] | To Collection | 4251000 | 4780000
Item |  | Description | Quantity | Unit | Rate | MK t
|  | ELCB 63 amps | 1 | no | 10500 |  | 10500
|  | Double sockets | 8 | no | 3000 |  | 24000
|  | Three gang oneway switch | 5 | no | 2500 |  | 12500
|  | LED flourescent fittings complete set 4ft tubes | 8 | no | 15000 |  | 120000
|  | Round boxes | 30 | no | 150 |  | 4500
|  | Square boxes 3x6 | 20 | no | 200 |  | 4000
|  | Round covers | 30 | no | 50 |  | 1500
|  | Square boxes 3x3 | 20 | no | 150 |  | 3000
joinery / painting
|  | FLBB doors | 3 | no | 65000 |  | 195000
|  | door frame | 3 | no | 35000 |  | 105000
|  | mortice locks | 3 | no | 12500 |  | 37500
|  | window frames 8glass with glasses | 10 | no | 105000 |  | 1050000
0
|  | PLUMBING |  |  |  |  | 0
|  | provision sum for water system all sanitaries | 1 | no | 250000 |  | 250000
0
|  | PAINTING WORKS |  |  |  |  | 0
|  | aply first and second coat pva white and cream respectively | 88 | m2 | 3000 |  | 264000
0
0
0
0
0
0
[5 empty] | To Collection | 0 | 2081500
BILL SUMMARY
|  |  | COLLECTION PAGE |  |  |  | MK t
|  | SUBSTRUCTURE |  |  |  |  | 550400
|  | SUPERSTRUCTURE |  |  |  |  | 6783500
|  | ROOFING |  |  |  |  | 4780000
|  | EXTENAL WORKS |  |  |  |  | 2081500
0
0
14195400
|  | NCIC 1% |  |  |  |  | 141954
|  | TRANSPORT 5% |  |  |  |  | 709770
|  | LABOUR COST 25% |  |  |  |  | 3548850
WITHHOLDING TAX 4%
prepared by macdonald kamwela 0888539446
|  |  |  | TO MAIN SUMMARY | 0 |  | 18595974